Drug delivery to the lungs

(Pre- and post-test)

- Which of the following are the parts of a nebulizer?

- Metal canister

- Medication chamber

- Mouth piece

- Connecting tube

- How long the treatment with nebulization is continued?

- At list 30 minutes

- As long as the mist comes out

- As long as the patient wish

- As long as the patient can

- Which of the following component is attached to the mouth piece or mask of a nebulizer?

- Medication chamber

- Connecting tube

- Compressor

- Cord

- Which of the following are the parts of a Metered Dose Inhaler (MDI)?

- Mouth piece

- Metal canister

- Plastic actuator

- Cap

- How many times do you need to shake inhaler before use?

- 3 or 4

- 7 or 8

- 8 or 9

- 9 or 10

- What should the patient do before placing the mouth piece of inhaler in mouth for taking a puff of medication?

- Breathe out fully

- Breathe in fully

- Wash mouth with water

- Do nothing

- How long the patient should hold breathe after inhaling first puff of medication?

- 10 seconds

- 15 seconds

- 20 seconds

- 60 seconds

- For taking a second puff of inhaler what should be the time interval between first and second puff?

- 10-20 seconds

- 30-60 seconds

- 60-90 seconds

- 60-120 seconds

- One end of connecting tube of nebulizer is attached to the compressor and the other end to the bottom of medication chamber? T/F

- In case of using nebulizer, the prescribed medication is poured in the center of medication chamber. T/F