In vitro dissolution testing apparatus

(Pre- and post-test)

1. What are the purposes of using dissolution apparatus?

- Quality control of drug

- In Research & Development to examine drug release behavior

- In vitro in vivo correlation

- All the above

2. Dissolution test of which of the following dosages forms are done in basket apparatus?

- Tablet

- Capsule

- Enteric coated

- Controlled release

3. Which of the following are the parts of basket dissolution apparatus?

- Basket-rack

- Beaker

- Paddle

- Disc

4. Which of the following statements are true regarding basket apparatus?

- Tablet is put in the test tube

- Tablet is put in the beaker

- Disc is put over the experimental drug

- The beaker contain the standard solution

5. How much solution is needed in experiment with basket apparatus?

- 1000 mL

- 2000 mL

- 3000 mL

- 4000 mL

6. Which of the following are the steps of preparing the basket apparatus?

- Put tablets in glass test tube of basket-rack

- Put disc over the tablet

- Put disc in glass test tube first then put tablet

- Twist upper plate to reduce the size of whole

7. Which of the following temperature should be maintained while using dissolution apparatus?

- 37⁰ C

- 39⁰ C

- 41⁰ C

- 43⁰ C

8. Which of the following statement is correct?

- For dissolution of tablet basket apparatus is used

- For dissolution of suppositories basket apparatus is used

- For transdermal patch basket apparatus is used

- For implant basket apparatus is used

9. Number of each disc corresponds with the number of chamber inside the basket. T/F

10. Basket rack is attached with a stand with the help of magnet located in its upper part. T/F